SUPPORTING INFORMATION

Изучение противовирусной активности синтетических соединений к вирусу гриппа А методом иммуноферментного анализа (ИФА)

Клетки MDCK выращивали в 96-луночных панелях до полного монослоя и перед добавлением препаратов и вирусов, 2 раза промывали средой без сыворотки, для снижения возможной неспецифической реакции. Исследуемые препараты или соединения добавляли к клеткам в 2-х кратной концентрации в 100 мкл среды МЕМ. К вирусному контролю добавляли по 100 мкл этой же среды, а к клеточному контролю – по 200 мкл. Панели инкубировали при 37оС с СО2. При определении действия противовирусных препаратов на экспрессию вирусных антигенов к клеткам с исследуемыми препаратами в лунки, исключая клеточный контроль, добавляли 4 разведения вируса (в рабочей дозе 10-10000 ТЦИД50) с учетом разведения препаратом в объеме 100 мкл. Все процедуры проводили на среде МЕМ с добавлением трипсина (TPCK treated, Sigma, США) в концентрации 2 мкг/мл. Панели инкубировали в термостате с СО2 в течение 24 часов при 37оС. После инкубации среду удаляли и клетки фиксировали 80% ацетоном на фосфатно- солевом буфере (PBS) в течение 15-20 минут в объеме 100 мкл, затем хорошо высушивали и отмывали 3 раза раствором PBS с 0,05% TWEEN 20 в объеме 200 мкл. Все дальнейшие процедуры отмывки проводили указанным раствором. Затем к клеткам добавляли по 100 мкл ИФА-буфера (фосфатно-солевой буфер c 1% фетальной сывороткой и 0,05% TWEEN 20) и инкубировали при 37оС в течение 30 мин. После удаления раствора к клеткам добавляли по 100 мкл моноклональных антител (МКА) к внутренним белкам M и NP вируса гриппа А в разведении 1:1000 на ИФА-буфере. После инкубации с антителами в течение 1 часа при 370С и последующей 2-х-кратной отмывки в лунки вносили по 100 мкл IgG кролика против IgG мыши, меченных пероксидазой хрена, в разведении 1:5000 на ИФА-растворе и инкубировали 1 час при 37оС. После 3-х-кратной отмывки легированную пероксидазу выявляли добавлением в лунки 100 мкл 3,3’,5,5’-тетраметилбензидина (ТМБ) в 0,003% цитратном буфере pH = 5,0, содержащем 0,003% H2O2 (субстрат). Панели выдерживали 15 минут в темноте до появления окрашивания, реакцию останавливали добавлением в каждую лунку 50 мкл 1Н H2SO4.

Далее измеряли оптическую плотность (ОП) на автоматическом спектрофотометре Scientific Multiskan GO (Thermo Fisher, США) при длине волны 450 нм. В качестве контроля использовали лунки, незараженные вирусом. Процент ингибирования вирусной репродукции исследуемым соединением определяли по формуле: процент ингибирования = 100 – (ОП опыта – ОП клеточного контроля / ОП вирусного контроля в отсутствии соединения – ОП клеточного контроля) x 100. Для одной точки опыта использовали три лунки панели, а каждое значение представляет среднее арифметическое ± среднеквадратичное отклонение, вычисленное из трех таких независимых опытов.

Концентрацию препарата или соединения, уменьшающую значение величины ОП на 50%, принимали за минимальную ингибирующую концентрацию (IC50). Минимальная концентрация, подавляющая активность вируса на 50% была рассчитана с помощью графического переноса результатов. Широту фармакологического эффекта соединений оценивали по химиотерапевтическому индексу (ХТИ), который определяли, как отношение максимально переносимой концентрации соединения к его минимальной активной концентрации: ХТИ = IC50/ CC50.

Study of antiviral activity of synthetic compounds to influenza A virus by enzyme-linked immunosorbent assay (ELISA)

MDCK cells were grown in 96-well panels to a full monolayer and before adding drugs and viruses, washed twice with serum-free medium to reduce possible non-specific reactions. The drugs or compounds under study were added to the cells at a 2-fold concentration in 100 μl of MEM medium. 100 μl of the same medium were added to the viral control, and 200 μl to the cell control. The panels were incubated at 37°C with CO2. When determining the effect of antiviral drugs on the expression of viral antigens, 4 dilutions of the virus (at a working dose of 10-10,000 TCID50) were added to the wells of the cells with the drugs under study, excluding the cell control, taking into account the dilution with the drug in a volume of 100 μl. All procedures were performed on MEM medium with the addition of trypsin (TPCK treated, Sigma, USA) at a concentration of 2 μg/ml. The panels were incubated in a thermostat with CO2 for 24 hours at 37°C. After incubation, the medium was removed and the cells were fixed with 80% acetone in phosphate-buffered saline (PBS) for 15-20 minutes in a volume of 100 μl, then well dried and washed 3 times with a PBS solution with 0.05% TWEEN 20 in a volume of 200 μl. All further washing procedures were carried out with the specified solution. Then 100 μl of ELISA buffer (phosphate-buffered saline with 1% fetal serum and 0.05% TWEEN 20) were added to the cells and incubated at 37°C for 30 min. After removing the solution, 100 μl of monoclonal antibodies (mAbs) to the internal M and NP proteins of the influenza A virus were added to the cells at a dilution of 1:1000 in ELISA buffer. After incubation with antibodies for 1 hour at 370C and subsequent 2-fold washing, 100 μl of rabbit IgG against mouse IgG labeled with horseradish peroxidase at a dilution of 1:5000 in ELISA solution were added to the wells and incubated for 1 hour at 37°C. After washing three times, doped peroxidase was detected by adding 100 μl of 3,3',5,5'-tetramethylbenzidine (TMB) in 0.003% citrate buffer pH 5.0 containing 0.003% H2O2 (substrate) to the wells. The panels were kept in the dark for 15 minutes until color appeared, the reaction was stopped by adding 50 μl of 1N H2SO4 to each well.

Then the optical density (OD) was measured on a Scientific Multiskan GO automatic spectrophotometer (Thermo Fisher, USA) at a wavelength of 450 nm. Wells not infected with the virus were used as a control. The percentage of inhibition of viral reproduction by the test compound was determined by the formula: percentage of inhibition = 100 – (OD of the experiment – OD of the cell control / OD of the viral control in the absence of the compound – OD of the cell control) x 100. Three wells of the panel were used for one experimental point, and each value represents the arithmetic mean ± standard deviation calculated from three such independent experiments.

The concentration of the drug or compound that reduces the OD value by 50% was taken as the minimum inhibitory concentration (IC50). The minimum concentration that suppresses viral activity by 50% was calculated by graphical transfer of the results. The breadth of the pharmacological effect of the compounds was assessed by the chemotherapeutic index (CTI), which was defined as the ratio of the maximum tolerated concentration of the compound to its minimum active concentration: CTI = IC50/ CC50.