Comparative assessment of H. pylori diagnostic tools

| Assay | Sensitivity | Specificity | Benefits | Disadvantages | Reference |
| --- | --- | --- | --- | --- | --- |
| Bacteriological | 70–90% | 100% | The golden standard for the diagnosis confirmation; could be used for the assessment of sensitivity to antibiotics | Sophisticated, labor-consuming, expensive and requiring special knowledge and skills in microbiology; cannot differentiate between pathogenic and non-pathogenic strains | [24] |
| Urease express-test | Above 95% | Above 95% | Quick, inexpensive, simple | Invasive and requires additional confirmation testing. Proton pump inhibitors and antibiotics can affect its sensitivity. Cannot identify other Helicobacteriacea spp. with lower urease activity and to differentiate pathogenic and non-pathogenic strains | [24–27] |
| Immunochroma-tographic | 96% | 97% | Cost-effective, simple, quick; no need in expensive equipment | False negative results can be obtained with low bacterial numbers; proton pump inhibitors and antibiotics affect its accuracy | [24, 28, 29] |
| Molecular genetic | 96% | 98% | Sensitive even with low numbers of H. pylori in the sample | Requires sophisticated and expensive equipment; can produce false positive results | [24, 29–32] |
| Histological | Above 95% | 99% | The golden standard of clinical diagnostics; provides useful information on the degree of inflammation and related disorders; highly sensitive and specific | Invasive and cannot differentiate pathogenic and non-pathogenic strains | [24, 32] |
| Serological | 85% | Above 85% | Inexpensive, accurate, not affected by proton pump inhibitors and antibiotics | Does not allow to accurately assess the eradication results; does not differentiate pathogenic and non-pathogenic strains | [24, 33] |